## Datos
Punto | TipoSistema | Campaña | Caudal_Ls | Precip_mm_d | pH | OD_mgL | Temp_C | Cond_uScm | Turb_NTU | Color_PtCo | Coli_tot_NMP100mL | Coli_fec_NMP100mL | DBO5_mgL | DQO_mgL | SST_mgL | Ntot_mgL | Ptot_mgL
P1 | Rio | C1 | 172.5 | 28.7 | 7.26 | 6.88 | 21.1 | 287.6 | 2.15 | 13.5 | 1277 | 252 | 6.4 | 15.3 | 19.8 | 0.99 | 0.14
P1 | Rio | C2 | 158.3 | 12.2 | 7.03 | 7.72 | 18.6 | 285.1 | 7.85 | 19.1 | 1032 | 492 | 4 | 9.8 | 18.5 | 1.24 | 0.08
P1 | Rio | C3 | 154.6 | 3.2 | 7.63 | 7.26 | 19.2 | 217.4 | 9.85 | 25.6 | 1043 | 332 | 5.7 | 12.7 | 11.8 | 1.89 | 0.14
P1 | Rio | C4 | 132.7 | 32.7 | 7.24 | 8.02 | 20.3 | 277.2 | 8.2 | 21.4 | 224 | 1395 | 7.9 | 18.6 | 16.8 | 1.22 | 0.07
P2 | Rio | C1 | 169.9 | 26.1 | 6.86 | 7.3 | 20.2 | 273.4 | 10.13 | 24 | 3866 | 1764 | 14 | 31 | 48.6 | 2.89 | 0.24
P2 | Rio | C2 | 169.6 | 12.2 | 7.34 | 7.24 | 20.2 | 275 | 7.07 | 22.3 | 4530 | 2509 | 13 | 26.2 | 36.2 | 2.28 | 0.32
P2 | Rio | C3 | 174.8 | 1.1 | 7.33 | 7.44 | 19.4 | 246.8 | 2.94 | 12.8 | 6299 | 2214 | 11 | 27.4 | 44 | 2.46 | 0.28
P2 | Rio | C4 | 192 | 23.1 | 7.16 | 6.93 | 19.5 | 283.6 | 2.82 | 22.2 | 5232 | 2517 | 15.7 | 32.8 | 25.5 | 3.04 | 0.27
P3 | Potable | C1 | 46.8 | 17.6 | 7 | 8.07 | 18.2 | 247.2 | 1.5 | 6.1 | 9 | 2 | NaN | NaN | NaN | NaN | NaN
P3 | Potable | C2 | 60 | 24.6 | 7.06 | 7.45 | 18.6 | 215.6 | 0.12 | 2 | 3 | 1 | NaN | NaN | NaN | NaN | NaN
P3 | Potable | C3 | 55.3 | 3.3 | 7.14 | 7.6 | 15.9 | 225.4 | 0.51 | 3.8 | 1 | 0 | NaN | NaN | NaN | NaN | NaN
P3 | Potable | C4 | 47.5 | 15.5 | 7.08 | 7.59 | 16.3 | 210.3 | 0.97 | 10.3 | 2 | 1 | NaN | NaN | NaN | NaN | NaN
P4 | Potable | C1 | 19.2 | 24.7 | 7 | 7.71 | 20.1 | 203.6 | 3 | 7.3 | 24 | 5 | NaN | NaN | NaN | NaN | NaN
P4 | Potable | C2 | 19.4 | 11.4 | 7.03 | 8.18 | 17.5 | 195.5 | 1.73 | 10.5 | 27 | 5 | NaN | NaN | NaN | NaN | NaN
P4 | Potable | C3 | 13.2 | 6.3 | 7.23 | 8.09 | 17.6 | 242.1 | 2.76 | 14.6 | 20 | 2 | NaN | NaN | NaN | NaN | NaN
P4 | Potable | C4 | 20 | 23.7 | 7.27 | 7.93 | 17.6 | 249.2 | 1.84 | 7.3 | 23 | 4 | NaN | NaN | NaN | NaN | NaN
P5 | Residual | C1 | 36.1 | 22.4 | 7.1 | 2.49 | 22.1 | 864.4 | 49.25 | 99 | 734721 | 503063 | 174.7 | 385.5 | 193.7 | 33.33 | 6.92
P5 | Residual | C2 | 33.2 | 8.6 | 7.3 | 1.88 | 24 | 784.5 | 69.56 | 95.5 | 1503494 | 687684 | 207.3 | 465.1 | 187.5 | 35.45 | 6.23
P5 | Residual | C3 | 28.3 | 7.3 | 6.56 | 1.09 | 22.5 | 920.6 | 69.06 | 86.9 | 981147 | 324227 | 135.6 | 294.4 | 188.1 | 32.35 | 5.12
P5 | Residual | C4 | 38.9 | 14 | 6.61 | 0.73 | 24.8 | 1090.5 | 62.43 | 92.6 | 1086953 | 462384 | 210.2 | 499.8 | 190.4 | 33.77 | 6.78
P6 | Residual | C1 | 56.7 | 37.6 | 6.93 | 1.31 | 22.3 | 744.5 | 87.07 | 120.3 | 1063298 | 490271 | 204.7 | 413.9 | 221.6 | 35 | 5.28
P6 | Residual | C2 | 37.7 | 9.5 | 7.12 | 0.97 | 20.3 | 919.1 | 83.94 | 109.6 | 1052743 | 505246 | 147.7 | 353 | 233.6 | 29.45 | 5.53
P6 | Residual | C3 | 37.4 | 2.9 | 6.92 | 1.61 | 24.2 | 543.3 | 76.45 | 103.5 | 693227 | 586382 | 208.9 | 396.4 | 167.3 | 36.64 | 7.73
P6 | Residual | C4 | 47.9 | 15.6 | 6.68 | 1.27 | 24 | 858.3 | 105.98 | 123.5 | 1013309 | 430257 | 213.2 | 510.3 | 233.2 | 39.14 | 5.7
P7 | Residual | C1 | 26.9 | 25.3 | 7.23 | 4.37 | 23.8 | 875.1 | 67.31 | 74.6 | 227506 | 19893 | 7.2 | 13.6 | 44.8 | 17.41 | 4.51
P7 | Residual | C2 | 22.3 | 17.4 | 6.64 | 4.03 | 22.5 | 915.5 | 49.13 | 14.2 | 18220 | 109090 | 49.1 | 114.7 | 92.4 | 28.08 | 0.94
P7 | Residual | C3 | 26.5 | 2.7 | 7.11 | 5.09 | 21.1 | 881.4 | 56.03 | 64.7 | 176678 | 149982 | 47 | 93.6 | 54.1 | 19.26 | 2.85
P7 | Residual | C4 | 47.8 | 21.3 | 7.44 | 3.98 | 20.8 | 820.2 | 52.67 | 60.2 | 58967 | 150352 | 79.9 | 183.9 | 105.3 | 22.77 | 5.33
P8 | Rio | C1 | 211.5 | 30.6 | 7.22 | 8.29 | 17.6 | 199.9 | 3.2 | 16 | 5054 | 2122 | 16.3 | 40.1 | 42.8 | 2.15 | 0.18
P8 | Rio | C2 | 150.2 | 3.5 | 7.23 | 7.96 | 20.3 | 271.2 | 5.89 | 19.1 | 4882 | 3163 | 15.6 | 32.7 | 36.1 | 3.31 | 0.29
P8 | Rio | C3 | 163 | 1.2 | 6.9 | 6.1 | 19 | 280 | 7.15 | 21 | 4162 | 2024 | 18.3 | 44.2 | 39.3 | 3.81 | 0.3
P8 | Rio | C4 | 183.6 | 28.4 | 7.13 | 7.98 | 22.6 | 194.7 | 9.18 | 14.8 | 4466 | 1644 | 16.4 | 40.1 | 21.7 | 3.56 | 0.27

## Coordenadas
Punto | TipoSistema | X_UTM | Y_UTM | Descripcion
P1 | Rio | 850000 | 1180000 | Río La Cascada aguas arriba
P2 | Rio | 850250 | 1180200 | Bocatoma / aducción (agua cruda)
P3 | Potable | 850500 | 1180400 | Salida PTAP
P4 | Potable | 850750 | 1180000 | Nodo crítico red de distribución
P5 | Residual | 851000 | 1180200 | Colector principal urbano
P6 | Residual | 851250 | 1180400 | Entrada PTAR
P7 | Residual | 851500 | 1180000 | Salida PTAR
P8 | Rio | 851750 | 1180200 | Río La Cascada aguas abajo descarga PTAR

## Limites
TipoSistema | Uso | Variable | LMP_min | LMP_max | Unidad | Referencia
Potable | Agua potable | Turb_NTU | NaN | 2 | NTU | Potable - guía
Potable | Agua potable | Color_PtCo | NaN | 15 | Pt-Co | Potable - guía
Potable | Agua potable | Coli_tot_NMP100mL | NaN | 0 | NMP/100mL | Potable - guía
Potable | Agua potable | Coli_fec_NMP100mL | NaN | 0 | NMP/100mL | Potable - guía
Potable | Agua potable | pH | 6.5 | 9 | u.pH | Potable - guía
Residual | Agua residual tratada | DBO5_mgL | NaN | 50 | mg/L | Residual - guía
Residual | Agua residual tratada | DQO_mgL | NaN | 200 | mg/L | Residual - guía
Residual | Agua residual tratada | SST_mgL | NaN | 100 | mg/L | Residual - guía
Residual | Agua residual tratada | Ntot_mgL | NaN | 40 | mg/L | Residual - guía
Residual | Agua residual tratada | Ptot_mgL | NaN | 8 | mg/L | Residual - guía
Residual | Agua residual tratada | Coli_fec_NMP100mL | NaN | 20000 | NMP/100mL | Residual - guía
Rio | Agua superficial | DBO5_mgL | NaN | 30 | mg/L | Río - guía
Rio | Agua superficial | SST_mgL | NaN | 50 | mg/L | Río - guía
Rio | Agua superficial | Coli_fec_NMP100mL | NaN | 2000 | NMP/100mL | Río - guía
Rio | Agua superficial | pH | 6 | 9 | u.pH | Río - guía
Rio | Agua superficial | OD_mgL | 5 | NaN | mg/L | Río - guía